Section 083613 
Sectional Doors
Thermacore steel sectional doors

models 591, 592, 593, 594, 596, 598, 599, 850

NOTE: Enable Microsoft Word option to display hidden text to view notes to specifier.

PART 1 GENERAL

Section Includes

Upward acting sectional steel doors.

Related Requirements

Section << 079200 - Joint Sealants>>:  Sealing joints between frames and adjacent construction.

Section << 087100 - Door Hardware>>:  Lock cylinders.

- ~~~~~ MASTER NOTE ~~~~~~
This cross-reference is applicable only to doors with electric motor operation.
~~~ END OF MASTER NOTE ~~~~

Section << 260533.13 - Conduit for Electrical Systems>>:  Conduit from electric circuit to operator and from operator to control station, and empty conduit from control units to door operator.

Section << 260583 - Wiring Connections>>.

Reference Standards

ITS (DIR) - Directory of Listed Products; Current Edition.

UL (DIR) - Online Certifications Directory; Current Edition.

UL 325 - Standard for Door, Drapery, Gate, Louver, and Window Operators and Systems; Current Edition, Including All Revisions.

~~~~~ MASTER NOTE ~~~~~~
Do not request submittals if drawings sufficiently describe the products of this section or if proprietary specifying techniques are used. The review of submittals increases the possibility of unintended variations from contract documents, thereby increasing the design professional's liability.

- ~~~ END OF MASTER NOTE ~~~~

Submittals

Product Data:  Submit manufacturer's standard literature showing materials and details of construction and finish.<<  Include data on electrical operation.; or  None - N/A>>

Shop Drawings:  Indicate rough and actual opening dimensions, anchorage methods, hardware locations, and installation details.

Manufacturer's Installation Instructions:  Indicate installation sequence and installation, adjustment, and alignment procedures.

Installer's qualification statement.

Operation and Maintenance Data:  Indicate modes of operation, lubrication requirements and frequency, and periodic adjustments required.

Specimen warranty.

Warranty

Manufacturer Warranty:  Provide manufacturer warranty for counterbalance shaft assembly for years indicated under individual doors. Complete forms in <<Owner>>'s name and register with manufacturer.

PART 2 PRODUCTS

Manufacturer

~~~~~ MASTER NOTE ~~~~~~
  The Overhead Door™ Brand is one of the most recognized and respected brands in the garage door industry. C. G. Johnson invented the upward-lifting garage door in 1921 and the electric garage door opener in 1926. For over 100 years, the Overhead Door™ Brand has stood for product quality and expertise, as well as professional service. From commercial and industrial upward-lifting doors and access systems to residential garage doors and openers, we combine quality, dependable products with reliable service to consistently give home and business owners confidence and peace of mind. To learn more about what our company and our distributors have accomplished over this century of greatness you can visit https://www.overheaddoor100.com/. The Overhead Door™ Brand is a garage door brand of Overhead Door Corporation, a Sanwa Holdings Company. Headquarters are located in Lewisville, TX. With our nationwide network of more than 450 authorized Ribbon Distributors, we are a leading provider of garage door systems, and we continue to lead the way with reliable solutions and unmatched professional installation, service and support that keeps customers coming back.   Contact Information: Overhead Door 2501 S State Hwy 121 Bus, Suite 200 Lewisville, Texas 75067 United States   Phone: 1 (800) 929-3667 (DOOR) Email: info@overheaddoor.com   Contact for Design Professional: Technical Support Group Phone: 1-800-929-4692 Email: info@overheaddoor.com   Online CEU Courses   Request Lunch & Learn   https://www.overheaddoor.com/home   Plant Location: Lewistown, Pennsylvania; Williamsport, Pennsylvania; Pensacola, Florida; Grand Island, Nebraska    
~~~ END OF MASTER NOTE ~~~~

Overhead Door Corporation; www.overheaddoor.com; 1 (800) 929-3667.

Substitutions: Not permitted.

UPWARD ACTING SECTIONAL STEEL DOORS

Thermacore Steel Sectional Doors:  Overhead Door Corporation; << Model 591;  Model 592;  Model 593;  Model 594;  Model 596;  Model 598;  Model 599; or  Model 850>>.

Panels:  Steel construction with exterior sheet, interior sheet, and core reinforcement.

- ~~~~~ MASTER NOTE ~~~~~~
Standard maximum widths:
Models 592, 599, and 850: 40 feet 2 inches (12.2 m)
Model 596: 36 feet 2 inches (11.02 m)
Model 591: 35 feet 2 inches (10.7 m)
Model 594: 20 feet 2 inches (6.2 m)
Model 598: 16 feet 2 inches (4.9 m)
For larger doors, contact manufacturer.
~~~ END OF MASTER NOTE ~~~~

Width:  << _____ feet _____ inches (_____ m)>>.

- ~~~~~ MASTER NOTE ~~~~~~
Standard maximum heights:
Models 592 and 599: 32 feet 1 inch (9.8 m) 
Models 591, 596, and 850: 24 feet 1 inch (7.3 m) 
Models 593 and 594: 16 feet 1 inch (4.9 m) 
Model 598: 14 feet 1 inch (4.3 m) 
For larger doors, contact manufacturer.
~~~ END OF MASTER NOTE ~~~~

Height:  << _____ feet _____ inch (_____ m)>>.

Mounting:  Surface mounted on interior of building.

Opening Speed:  Door to operate at variable speed of << 6 to 12 inches (152 to 305 mm)>> per second.

Closing Speed:  Door to operate at variable speed of << 6 to 12 inches (152 to 305 mm)>> per second.

- ~~~~~ MASTER NOTE ~~~~~~
Model 591: 0.08 cfm/sq ft (1.46 cu m/hr/sq m)
Model 592, 596, and 599: 0.13 cfm/sq ft (2.37 cu m/hr/sq m)
Models 593 and 594: 0.15 cfm/sq ft (2.74 cu m/hr/sq m)
Model 850: 0.21 cfm/sq ft (3.83 cu m/hr/sq m)
Model 598: 0.46 cfm/sq ft (8.40 cu m/hr/sq m) 
~~~ END OF MASTER NOTE ~~~~

Air Infiltration at << 25 mph (40 km/hr)>>:  << 0.08 cfm/sq ft (1.46 cu m/hr/sq m);  0.13 cfm/sq ft (2.37 cu m/hr/sq m);  0.15 cfm/sq ft (2.74 cu m/hr/sq m);  0.21 cfm/sq ft (3.83 cu m/hr/sq m); or  0.46 cfm/sq ft (8.40 cu m/hr/sq m)>>.

- ~~~~~ MASTER NOTE ~~~~~~
Models 592, 596, and 599: 0.01
Model 850: 0.07
Model 591: 0.13
Models 593 and 594: 0.15
Model 598: 0.20
~~~ END OF MASTER NOTE ~~~~

U-Factor:  << 0.07;  0.10;  0.13;  0.15; or  0.20>>.

- ~~~~~ MASTER NOTE ~~~~~~
Models 592, 596, and 599: R-value (RSI-value): 17.40 (3.09).
Model 591: R-value (RSI-value): 14.86 (2.63).
Models 593 and 594: R-value (RSI-value): 12.76 (2.26).
Model 598: R-value (RSI-value): 9.31 (1.64).
Model 850: R-value (RSI-value): 26 (4.58).
~~~ END OF MASTER NOTE ~~~~

R-value (RSI-value):  << 26 (4.58);  17.40 (3.09);  14.86 (2.63);  12.76 (2.26); or  9.31 (1.64)>>.

- ~~~~~ MASTER NOTE ~~~~~~
Models 592 and 596: Class 26.
Models 591, 593, 594, 598, and 599: Not applicable.
Model 850: Class 22.
~~~ END OF MASTER NOTE ~~~~

STC Rating:  << Class 22;  Class 26; or  Not applicable>>.

- ~~~~~ MASTER NOTE ~~~~~~
Select operation cycles to coordinate with selected springs.
~~~ END OF MASTER NOTE ~~~~

Operation Cycles:  Capable of operating for minimum << 10,000;  25,000;  50,000;  75,000; or  100,000>> cycles. One operation cycle is complete when door is opened from closed position to fully open position and returned to closed position.

Available Warranty:

Door Only:  One year.

Panel Material:

- ~~~~~ MASTER NOTE ~~~~~~
Models 594 and 598: 0.012 inch (0.30 mm).
Models 591, 592, 593, 599, and 850: 0.015 inch (0.38 mm).
Model 596: 0.036 inch (0.91 mm).
~~~ END OF MASTER NOTE ~~~~

Exterior Steel Thickness:  << 0.012 inch (0.30 mm);  0.015 inch (0.38 mm); or  0.033 inch (0.84 mm)>> galvanized steel.

- ~~~~~ MASTER NOTE ~~~~~~
Models 592, 596, and 599: 2 inches (51 mm).
Model 591: 1-5/8 inches (41 mm).
Models 593 and 594: 1-3/8 inches (35 mm). 
Model 598: 1 inch (25 mm).
Model 850: 3 inches (76 mm).
~~~ END OF MASTER NOTE ~~~~

Panel Thickness:  << 3 inches (76 mm);  2 inches (51 mm);  1-5/8 inches (41 mm);  1-3/8 inches (35 mm); or  1 inch (25 mm)>>.

- ~~~~~ MASTER NOTE ~~~~~~
Tongue and groove joint profile for Model 850.
Shiplap joint profile for Models 592, 596, 599, 593, and 598.
~~~ END OF MASTER NOTE ~~~~

Joint Profile:  << Tongue and groove; or  Shiplap>>.

Section Height:  Manufacturer's standard based on door height.

- ~~~~~ MASTER NOTE ~~~~~~
Models 596 and 599: Flush.
Model 850: Microgroove.
Model 594: Raised panel. 
Models 591, 592, 593, and 598: Ribbed.
~~~ END OF MASTER NOTE ~~~~

Exterior Surface Profile:  << Flush;  Microgroove;  Raised panel; or  Ribbed>>.

- ~~~~~ MASTER NOTE ~~~~~~
Model 850: Large lites or insulated lites.
Models 596 and 599: Double thermal acrylic, aluminum sash section with DSB glazing, insulated DSB, or clear long lites.
Models 591: Double thermal acrylic, aluminum sash section with DSB glazing, or insulated DSB.
Models 592 and 593: Double thermal acrylic, aluminum sash section with DSB glazing, insulated DSB, or clear long lites. Clear long lites not available on doors over 20 feet long.
Model 598: Double thermal acrylic, insulated DSB, or clear long lites. Clear long lites not available on doors over 20 feet long. 
Model 594: Insulated DSB or aluminum sash section with DSB glazing.
~~~ END OF MASTER NOTE ~~~~

Lites:  << Not required;  Double thermal acrylic;  Aluminum sash section with double strength billet (DSB) glazing;  Insulated double strength billet (DSB);  Clear long lites; or  Large lites>>.

- ~~~~~ MASTER NOTE ~~~~~~
Model 591 standard finish colors: White, Tan, Gray, Industrial Brown, Black. Optional Finish colors: Trinar White, Trinar Brown, Trinar Beige.
Model 592 standard finish colors: White, Tan, Gray, Industrial Brown, Black. Optional Finish colors: Trinar White, Trinar Brown, Trinar Beige.
Model 593 standard finish colors: White, Tan, Gray, Industrial Brown. Optional Finish colors: Trinar White, Trinar Brown, Trinar Beige.
Model 594 standard finish colors: White, Almond, Sandstone, Forest Green, Brown, Terra Bronze, Desert Tan. Optional Finish colors: Trinar White, Trinar Brown, Trinar Beige.
Model 596 standard finish colors: White, Tan, Gray, Industrial Brown.
Model 598 standard finish colors: White.
Model 599 standard finish colors: White.
Model 850 standard finish colors: White, Tan,  Brown.
~~~ END OF MASTER NOTE ~~~~

Exterior Finish:  << White;  Tan;  Gray;  Almond;  Industrial Brown;  Black;  Sandstone;  Forest Green;  Chestnut Brown;  Terra Bronze;  Desert Tan;  Trinar White;  Trinar Brown; or  Trinar Beige>>.

Locking Options to Include:  << None;  Slide lock; or  Cylinder>>.

Lock Locations:  << Both jambs;  Left only; or  Right only>>.

Weatherstripping and Seals:  << Required; or  Not required>>.

Tracks:  Constructed of steel with members fully bolted together.

Size:  << 2 inches (51 mm); or  3 inches (76 mm)>>.

Finish:  Mill finish.

- ~~~~~ MASTER NOTE ~~~~~~
Models 591, 592, 596, and 599: 0.0555 inch (1.410 mm).
Models 593, 594, and 598: 0.0356 inch (0.904 mm).
Model 850: single 16 gauge, 0.0635 inch (1.613 mm); double 16 gauge, 0.0635 inch (1.613 mm); or 14 gauge, 0.0785 inch (1.99 mm).
~~~ END OF MASTER NOTE ~~~~

End Stiles:  << 14 gauge, 0.0785 inch (1.99 mm);  single 16 gauge, 0.0635 inch (1.613 mm);  double 16 gauge, 0.0635 inch (1.613 mm);  0.055 inch (1.410 mm); or  0.0356 inch (0.904 mm)>> galvanized steel.

Brackets:  Steel to support counterbalance and curtain.

Finish:  Hot-dip galvanized.

Springs:  Rated for << 10,000;  25,000;  50,000;  75,000; or  100,000>> cycles.

- ~~~~~ MASTER NOTE ~~~~~~
Manual push-up to 84 sq ft (7.8 sq m) or 12 by 7 feet (3.7 by 2.1 m). Chain hoist over 84 sq ft (7.8 sq m) or 12 by 7 feet (3.7 by 2.1 m).
~~~ END OF MASTER NOTE ~~~~

Manual Operation:  << Push-up; or  Chain hoist>>.

Motor Operation:  Provide UL-listed electric operator; size as recommended by manufacturer to move door in either direction at minimum << 6 inches (152 mm)>>, maximum << 12 inches (305 mm)>> per second.

Timer to Close:  << Not required; or  Automatic closing controlled by adjustable hold-open time delay>>.

Operation Supply Voltage:  << 115/208/230V 1 phase 60Hz;    208/230/460V 3 phase 60Hz;    575V 3 phase 60Hz;    220V 1 phase 50Hz;    220V 3 phase 50Hz; or    400V 3 phase 50Hz>>.

Signaling Device:  << Horn and strobe combination; or  Traffic warning light>>.

Actuation Device:  Provide << push button;  key switch;  pull cord;  loop detector;  motion detector;  treadle switch; and  radio control>>.

Motor Mounting:  << Wall mounted; or  Trolley>>, << right-hand side;  left-hand side; or  center>>.

Motor Enclosure:  << Not required;  NEMA 4-12 watertight and oiltight;  NEMA 4X corrosion-resistant;  Totally enclosed, fan-cooled motor; or  Totally enclosed, non-ventilated>>.

Obstruction Safety Detection:  Infrared sensor mounted in-plane to door curtain at << 6 inches (152 mm)>> from floor.

Reversing Safety Edge:  << Not required;  Door provided with wireless monitored electric safety edge; or  Door provided with wired monitored electric safety edge>>.

PART 3 EXECUTION

Examination

Verify wall openings are ready to receive work and opening dimensions and tolerances are within specified limits.

Verify electric power is available and meets manufacturer's requirements.

Preparation

Prepare opening to permit correct installation of door unit to perimeter air and vapor barrier seal.

Apply primer to wood frame.

Installation

Install door unit assembly in accordance with manufacturer's instructions.

Anchor assembly to wall construction and building framing without distortion or stress.

Securely brace door tracks suspended from structure. Secure tracks to structural members only.

Fit and align door assembly including hardware.

Coordinate installation of electrical service. Complete power and control wiring from disconnect to unit components.

Install << perimeter trim;  closures; and  ___________>>.

Tolerances

Maximum Variation from Plumb:  << 1/16 inch (1.5 mm); or  ___ inch (___ mm)>>.

Maximum Variation from Level:  << 1/16 inch (1.5 mm); or  ___ inch (___ mm)>>.

Longitudinal or Diagonal Warp:  Plus or minus << 1/8 inch in 10 feet (3 mm in 3 m); or  _____ inch in 10 feet (_____ mm in 3 m)>> straight edge.

Maintain dimensional tolerances and alignment with adjacent work.

Adjusting

Adjust door assembly for smooth operation and full contact with weatherstripping.

Confirm operation is in accordance with manufacturer's instructions with present field representative. Identify adjustments to door assembly.

Cleaning

See Section << 017000 - Execution and Closeout Requirements>> for additional requirements.

Clean doors and frames<<  and glazing;    _____; or  None - N/A>>.

Remove<<  temporary;    _____; or  None - N/A>> labels and visible markings.

Protection

Protect installed products from damage until Date of Substantial Completion.

Do not permit construction traffic through overhead door openings after adjustment and cleaning.

END OF SECTION